## Sheet1
Plant | Unit | Machinetype
A.CUP1 | AB11 | Aux Boiler
A.CUP1 | GEN GTG11 | Generator-Frame 6
A.CUP1 | GEN GTG12 | Generator-Frame 6
A.CUP1 | GEN GTG13 | Generator-Frame 6
A.CUP1 | GEN GTG14 | Generator-Frame 6
A.CUP1 | GEN GTG15 | Generator-Frame 6
A.CUP1 | GEN GTG16 | Generator-Frame 6
A.CUP1 | GTG11 | Gas Turbine-Frame 6
A.CUP1 | GTG12 | Gas Turbine-Frame 6
A.CUP1 | GTG13 | Gas Turbine-Frame 6
A.CUP1 | GTG14 | Gas Turbine-Frame 6
A.CUP1 | GTG15 | Gas Turbine-Frame 6
A.CUP1 | GTG16 | Gas Turbine-Frame 6
A.CUP1 | HRSG11 | HRSG-Frame6
A.CUP1 | HRSG12 | HRSG-Frame6
A.CUP1 | HRSG13 | HRSG-Frame6
A.CUP1 | HRSG14 | HRSG-Frame6
A.CUP1 | HRSG15 | HRSG-Frame6
A.CUP1 | HRSG16 | HRSG-Frame6
B.CUP2 | AB21 | Aux Boiler
B.CUP2 | GEN GTG21 | Generator-Frame 6
B.CUP2 | GEN GTG22 | Generator-Frame 6
B.CUP2 | GEN ST21 | Generator-Steam Turbine (Small)
B.CUP2 | GTG21 | Gas Turbine-Frame 6
B.CUP2 | GTG22 | Gas Turbine-Frame 6
B.CUP2 | HRSG21 | HRSG-Frame6
B.CUP2 | HRSG22 | HRSG-Frame6
B.CUP2 | ST21 | Steam Turbine (Small)
C.CUP3 | AB31 | Aux Boiler
C.CUP3 | AB32 | Aux Boiler
C.CUP3 | AB33 | Aux Boiler
C.CUP3 | GEN ST31 | Generator-Steam Turbine (Small)
C.CUP3 | ST31 | Steam Turbine (Small)
D.CUP4 | GEN GTG41 | Generator-SGT800
D.CUP4 | GTG41 | Gas Turbine-SGT800
D.CUP4 | HRSG41 | HRSG-SGT800
F.GIPP | GEN GT11 | Generator-Gas Turbine GT26
F.GIPP | GEN GT21 | Generator-Gas Turbine GT26
F.GIPP | GEN ST11 | Generator-Steam Turbine (Large)
F.GIPP | GEN ST21 | Generator-Steam Turbine (Large)
F.GIPP | GT11 | Gas Turbine GT26
F.GIPP | GT21 | Gas Turbine GT26
F.GIPP | HRSG11 | HRSG-GT26
F.GIPP | HRSG21 | HRSG-GT26
F.GIPP | ST11 | Steam Turbine (Large)
F.GIPP | ST21 | Steam Turbine (Large)
G.GH1 | Boiler | PC Boiler
G.GH1 | GEN ST | Generator GH1
G.GH1 | ST | Steam Turbine (Large)
H.PH2 | GEN GT2B | Generator-Frame 6
H.PH2 | GEN GT2C | Generator-Frame 6
H.PH2 | GEN GT41 | Generator-SGT800
H.PH2 | GEN GT42 | Generator-SGT800
H.PH2 | GEN GT61 | Generator-SGT800
H.PH2 | GEN GT62 | Generator-SGT800
H.PH2 | GT2B | Gas Turbine-Frame 6
H.PH2 | GT2C | Gas Turbine-Frame 6
H.PH2 | GT41 | Gas Turbine-SGT800
H.PH2 | GT42 | Gas Turbine-SGT800
H.PH2 | GT61 | Gas Turbine-SGT800
H.PH2 | GT62 | Gas Turbine-SGT800
H.PH2 | HRSG2B | HRSG-Frame6
H.PH2 | HRSG2C | HRSG-Frame6
H.PH2 | HRSG41 | HRSG-SGT800
H.PH2 | HRSG42 | HRSG-SGT800
H.PH2 | HRSG61 | HRSG-SGT800
H.PH2 | HRSG62 | HRSG-SGT800
I.COAL | CFB1 | CFB
I.COAL | CFB2 | CFB
I.COAL | CFB3 | CFB
I.COAL | CTG1A | Gas Turbine-Frame 6
I.COAL | CTG1B | Gas Turbine-Frame 6
I.COAL | CTG2A | Gas Turbine-Frame 6
I.COAL | CTG2B | Gas Turbine-Frame 6
I.COAL | GEN CTG1A | Generator-Frame 6
I.COAL | GEN CTG1B | Generator-Frame 6
I.COAL | GEN CTG2A | Generator-Frame 6
I.COAL | GEN CTG2B | Generator-Frame 6
I.COAL | GEN STG1C | Generator-Steam Turbine (Medium)
I.COAL | GEN STG2C | Generator-Steam Turbine (Medium)
I.COAL | GEN STG3C | Generator-Steam Turbine (Medium)
I.COAL | CTG71 | Gas Turbine-SGT800
I.COAL | CTG72 | Gas Turbine-SGT800
I.COAL | GEN CTG71 | Generator-SGT800
I.COAL | GEN CTG72 | Generator-SGT800
I.COAL | HRSG71 | HRSG-SGT800
I.COAL | HRSG72 | HRSG-SGT800
I.COAL | HRU1A | HRU-Frame6
I.COAL | HRU1B | HRU-Frame6
I.COAL | HRU2A | HRU-Frame6
I.COAL | HRU2B | HRU-Frame6
I.COAL | STG1C | Steam Turbine (Medium)
I.COAL | STG2C | Steam Turbine (Medium)
I.COAL | STG3C | Steam Turbine (Medium)
J.GAS | CTG5 | Gas Turbine-SGT4000F
J.GAS | GEN CTG5 | Generator-SGT4000F
J.GAS | GEN STG5 | Generator-Steam Turbine (Small)
J.GAS | HRSG5 | HRSG-SGT4000F
J.GAS | STG5 | Steam Turbine (Small)
J.GAS | CTG1 | Gas Turbine-Frame 6
J.GAS | CTG2 | Gas Turbine-Frame 6
J.GAS | CTG3A | Gas Turbine-Frame 6
J.GAS | CTG3B | Gas Turbine-Frame 6
J.GAS | GEN CTG1 | Generator-Frame 6
J.GAS | GEN CTG2 | Generator-Frame 6
J.GAS | GEN CTG3A | Generator-Frame 6
J.GAS | GEN CTG3B | Generator-Frame 6
J.GAS | HRSG1 | HRSG-Frame6
J.GAS | HRSG2 | HRSG-Frame6
J.GAS | HRSG3A | HRSG-Frame6
J.GAS | HRSG3B | HRSG-Frame6
K.GSPP11 | GEG1 | Generator-Gas Engine
K.GSPP11 | GEG2 | Generator-Gas Engine
K.GSPP11 | GEG3 | Generator-Gas Engine
K.GSPP11 | GEG4 | Generator-Gas Engine
K.GSPP11 | GEG5 | Generator-Gas Engine
K.GSPP11 | GEG6 | Generator-Gas Engine
K.GSPP11 | GEN GT1 | Generator-LM6000
K.GSPP11 | GEN GT100 | Generator-Frame 6
K.GSPP11 | GEN GT2 | Generator-LM6000
K.GSPP11 | GEN GT200 | Generator-Frame 6
K.GSPP11 | GEN ST3 | Generator-Steam Turbine (Small)
K.GSPP11 | GEN ST300 | Generator-Steam Turbine (Small)
K.GSPP11 | GT1 | Gas Turbine-LM6000
K.GSPP11 | GT100 | Gas Turbine-Frame 6
K.GSPP11 | GT2 | Gas Turbine-LM6000
K.GSPP11 | GT200 | Gas Turbine-Frame 6
K.GSPP11 | HRSG1 | HRSG-LM6000
K.GSPP11 | HRSG2 | HRSG-LM6000
K.GSPP11 | HRSG400 | HRSG-Frame6
K.GSPP11 | HRSG500 | HRSG-Frame6
K.GSPP11 | ST3 | Steam Turbine (Small)
K.GSPP11 | ST300 | Steam Turbine (Small)
Q.RDF | Boiler | RDF Boiler
Q.RDF | GEN ST | Generator-RDF Boiler
Q.RDF | ST | Steam Turbine-RDF Boiler